

**INVITATION TO QUOTE BEY SCM 278**

**SUPPLY AND DELIVERY WATER EQUIPMENT**

Quotes are requested from registered service providers for:

|  |  |  |
| --- | --- | --- |
| **Quantity** | **Description** | **Cost per item excl vat** |
| 100 | 13mm Galvanised Elbows |  |
| 10 | 13mm Ferrules |  |
| 10 | 20mm Ferrules |  |
| 50 | 13mm Galvanised Barrel Nipples |  |
| 10 | 13mm Brass Nipples |  |
| 20 | 20mm Galvanised Barrel Nipples |  |
| 10 | 20mm Brass Nipples |  |
| 20 | 25mm Galvanised Barrel Nipples |  |
| 20 | 20mm Galvanised Plugs |  |
| 20 | 15mm Galvanised Tees |  |
| 20 | 15mm Galvanised Socket |  |
| 20 | 20mm Galvanised Socket |  |
| 20 | 25mm Galvanised Socket |  |
| 30 | 15mm Watermeter Boxes with Meters |  |
| 300 | Copper Spare Rings |  |
| 15 | 15mm Gate Valves |  |
| 15 | 20mm Gate Valves |  |
| 15 | 25mm Gate Valves |  |
| 15 | 15mm Copper Stopcocks |  |
| 15 | 20mm Copper Stopcocks |  |
| 15 | 25mm Copper Stopcocks |  |
| 15 | 15mm Copper Taps |  |
| 15 | 20mm Copper Taps |  |
| 15 | 25mm Copper Taps |  |
| 15 | 15mm Galvanised Reducing Bush with 15mm whole |  |
| 15 | 20mm Galvanised Reducing Bush with 15mm whole |  |
| 15 | 25mm Galvanised Reducing Bush with 20mm whole |  |
| 15 | 32mm Galvanised Reducing Bush with 25mm whole |  |
| 15 | 13mm Copper Tees |  |
| 15 | 20mm Copper Tees |  |
| 15 | 25mm Copper Tees |  |
| 30 | 15mm PVC Straight fittings |  |
| 30 | 20mm PVC Straight fittings |  |
| 30 | 25mm PVC Straight fittings |  |
| 30 | 32mm PVC Straight fittings |  |
| 15 | 15mm PVC Straight Elbows |  |
| 15 | 20mm PVC Straight Elbows |  |
| 15 | 25mm PVC Straight Elbows |  |
| 15 | 32mm PVC Straight Elbows |  |
| 15 | 15mm PVC Male Elbows |  |
| 15 | 20mm PVC Male Elbows |  |
| 15 | 25mm PVC Male Elbows |  |
| 15 | 32mm PVC Male Elbows |  |
| 15 | 15mm PVC Female Elbows |  |
| 15 | 20mm PVC Female Elbows |  |
| 15 | 25mm PVC Female Elbows |  |
| 15 | 32mm PVC Female Elbows |  |
| 15 | 15mm PVC Male Straight fittings |  |
| 15 | 20mm PVC Male Straight fittings |  |
| 15 | 25mm PVC Male Straight fittings |  |
| 15 | 32mm PVC Male Straight fittings |  |
| 15 | 15mm PVC Female Straight fittings |  |
| 15 | 20mm PVC Female Straight fittings |  |
| 15 | 25mm PVC Female Straight fittings |  |
| 15 | 32mm PVC Female Straight fittings |  |
| 30 | 20mm Watermeters |  |
| 1000 | Sealing Tape |  |
| 15 | 50 CASCADES (69-76) |  |
| 15 | 75 CASCADES (95-104) |  |
| 15 | 100 CASCADES (104-113) |  |
| 15 | 100 CASCADES (121-130) |  |
| 15 | 150 CASCADES (150-161) |  |
| 15 | 150 CASCADES (174-183) |  |
| 15 | 200 CASCADES (195-205) |  |
| 5 | 200 CASCADES (229-238) |  |
| 5 | 250 CASCADES (288-298) |  |
| 5 | 300 CASCADES (331-337) |  |
| 200m | 15mm Poly Pipe Class 10 |  |
| 200m | 15mm Poly Cop Pipe |  |
| 200m | 20mm Poly Pipe Class 10 |  |
| 200m | 25mm Poly Pipe Class 10 |  |
| 200m | 25mm Poly Cop Pipe |  |
| 200m | 32mm Poly Cop Pipe |  |
| 50m | 32mm Poly Pipe Class 10 |  |
| 15 | 110mm Sewerage Pipe (6m) Class 12 |  |
| 15 | 110mm Water Pipe (6m) Class 12 |  |
| 15 | 75mm Water Pipe (6m) Class 12 |  |
| 10 | 150mm Water pipe (6m) Class 12 |  |
| 100m | 15mm Composite Pipe |  |
| 100m | 20mm Composite Pipe |  |
|  |  |  |
|  |  |  |

**TOTAL PRICE ………………………………………….**

**VAT( IF RGISTERED) …………………………………………..**

**TOTAL PRICE INCL VAT -----------------------------------**

**NAME OF BIDDER----------------------------------------------**

Quotes must be placed in the municipal tender box, Robert Sobukwe Building, in sealed envelopes clearly marked **"BEY SCM 278**", not later than 12h00 Thursday on the **7th of October 2021** and will be opened in public immediately thereafter.

**Note:**

Faxed, e-mailed or late quotations will not be accepted

1. The tender will be evaluated on 80/20 system.
2. All suppliers must be registered on the Central Supplier Database (CSD)
3. SARS verification pins to be submitted if possible.
4. A current certified Municipal (rates& services) clearance certificate to be submitted.
5. Attached declaration of interest to be completed.
6. A current certified BBBEE certificate or Sworn Affidavit must be submitted in order to claim preference points.
7. Council is not bound to accept the lowest or any quotation and reserves the right to accept any tender or part thereof.
8. For further details contact the **Mr C. Wildschute at 049 807 5700**

**DR. E.M. RANKWANA**

**MUNICIPAL MANAGER**

**DECLARATION OF INTEREST**

1. No bid will be accepted from persons in the service of the state¹.

1. Any person, having a kinship with persons in the service of the state, including a blood relationship, may make an offer or offers in terms of this invitation to bid. In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons connected with or related to persons in service of the state, it is required that the bidder or their authorised representative declare their position in relation to the evaluating/adjudicating authority.

3 In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

3.1 Full Name of bidder or his or her representative:……………………………………………..

3.2 Identity Number: ………………………………………………………………………………….

3.3 Position occupied in the Company (director, trustee, hareholder²):………………………..

3.4 Company Registration Number: ……………………………………………………………….

3.5Tax Reference Number:…………………………………………………………………………

3.6VAT Registration Number: ……………………………………………………………………

3.7 The names of all directors / trustees / shareholders members, their individual identity

numbers and state employee numbers must be indicated in paragraph 4 below.

3.8Are you presently in the service of the state? **YES / NO**

3.8.1If yes, furnish particulars. ….……………………………………………………………

……………………………………………………………………………………………..

**¹**MSCM Regulations: “in the service of the state” means to be –

a member of –

any municipal council;

any provincial legislature; or

the national Assembly or the national Council of provinces;

a member of the board of directors of any municipal entity;

an official of any municipality or municipal entity;

an employee of any national or provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1999 (Act No.1 of 1999);

a member of the accounting authority of any national or provincial public entity; or

an employee of Parliament or a provincial legislature.

² Shareholder” means a person who owns shares in the company and is actively involved in the management of the company or business and exercises control over the company.

3.9Have you been in the service of the state for the past twelve months? ………**YES / NO**

3.9.1If yes, furnish particulars.………………………...……………………………………..

……………………………………………………………………………………………. 3.10Do you have any relationship (family, friend, other) with persons

in the service of the state and who may be involved with

the evaluation and or adjudication of this bid?………………………………… **YES / NO**

3.10.1If yes, furnish particulars.

………………………………………………………………………………

………………………………………………………………………………

3.11Are you, aware of any relationship (family, friend, other) between

any other bidder and any persons in the service of the state who

may be involved with the evaluation and or adjudication of this bid? **YES / NO**

3.11.1If yes, furnish particulars

…………………………………………………………………………………

……………………………….……............................................................

3.12Are any of the company’s directors, trustees, managers,

principle shareholders or stakeholders in service of the state? **YES / NO**

3.12.1 If yes, furnish particulars.

……………………………………………………………………………….

……………………………………………………………………………….

3.13 Are any spouse, child or parent of the company’s directors

trustees, managers, principle shareholders or stakeholders

in service of the state? **YES / NO**

3.13.1If yes, furnish particulars.

……………………………………………………………………………….

……………………………………………………………………………….

3.14 Do you or any of the directors, trustees, managers,

principle shareholders, or stakeholders of this company

have any interest in any other related companies or

business whether or not they are bidding for this contract. **YES / NO**

3.14.1 If yes, furnish particulars:

……………………………………………………………………………..

……………………………………………………………………………..

# 4. Full details of directors / trustees / members / shareholders.

|  |  |  |
| --- | --- | --- |
| **Full Name** | **Identity Number** | **State Employee Number** |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

………………………………….. ……………………………………..

**Signature Date**

…………………………………. ………………………………………

**Capacity Name of Bidder**